ICD-20

"Synchro Bus – Node/Page specifications"

C Boyer

October 20, 2009

Version:	C    D

Last Update:   October 11, 2013

Issued By:	Adaptive Optics Group

Date:

Approved By:	__________________________ Group Manager    		_________

__________________________ Group Manager  (if req)	_________

__________________________ Systems Engineering    	_________

Revision Control

1.  Revision Version A

Date: November 24, 1999

Revised by: C. Boyer

Reason for / items changed: Initial version

2.  Revision Version B

Date: March 04, 2004

Revised by: C. Boyer

Reason for / items changed: Add new nodes (BTO and GSAOI) and pages allocation

3.  Revision Version C

Date: October 20, 2009

Revised by: A. Núñez

Reason for / items changed: Add new node (GPI) and pages allocation.

4.  Revision Version D

Date: October 11, 2013

Revised by: C. Quiroz

Reason for / items changed: Add new node (F2 OIWFS), renumber node (GPI).

# Document purpose

The purpose of this document is to give a list with identification number of all the systems of the telescope connected to the synchro-bus. This document also describes the memory pages allocation.

# Related Documents and Acronyms

## References

- ICD 10 – EPICS Synchro Bus Driver, A. N. Johnson

- ICD 1.4.2/1.4.4 – Tip/Tilt System to M2 Control System, S. Prior, A. Rudeen

- ICD 1.4.4/1.6 – M2 Control System to A&G system, M. J. Paterson

- ICD 1.13.8/1.13.5 – Altair to LGS Control System, L. Saddlemyer

- ICD 1/1.3.8 – Telescope Systems to Altair Upgrades L. Saddlemyer

- ICD 1.14.2/1.13.3 – MCAO RTC to BTO, C. Boyer

- ICD 1.9.g/1.14.2 – GSAOI to MCAO RTC, C. Boyer

- ICD 1.9.h/1.4.4 – GPI to M2 Control System (to be written)

## Acronyms

A&G	Acquisition & Guidance

AO	Adaptive Optics

BTO	Beam Transfer Optics

CC	Component Controller

DC	Detector Controller

EPICS	Experimental Physics and Industrial Control System

GPI	Gemini Planet Imager

GSAOI	Gemini South Adaptive Optics Imager

ICD	Interface Control Document

LGS	Laser Guide Star

LLT	Laser Launch Telescope

M2	Gemini Secondary Mirror

MCAO	Multi Conjugate Adaptive Optics

OIWFS	On Instrument Wavefront Sensor

PWFS	Peripheral Wavefront Sensor

RTC	Real Time Controller

SCS	Secondary Control System

## Glossary

VxWorks	A real time operating system from Wind River

## Related Interface Control Drawings

Not applicable

# Physical System Interfaces

## Mechanical Interface

Not applicable

## Optical Interface

Not applicable

## Electronic Interface

Not applicable

## Mass/Balance

Not applicable

## Thermal Interface

Not applicable

# Software / Control Function interface

## List of the systems connected to the synchro-bus

| Systems | Node Number |
| --- | --- |
| SCS | 0 |
| M2 | 1 |
| PWFS1 | 2 |
| PWFS2 | 3 |
| OIWFS | 4 |
| AO (ALTAIR or MCAO RTC) | 5 |
| BTO/LLT CC | 6 |
| GSAOI DC | 7 |
| F2 OIWFS | 8 |
| GPI | 9 |

Table 1: Synchro Bus Node allocation

## Reflective Memory page allocation

The reflective memory area is conceptually divided into pages of size 1Kbyte. Page description is given in the following documents (2.1):

[2] gives a description of the pages dedicated to transfer data between SCS and M2.

[3] gives a description of the pages dedicated to transfer data between A&G (PWFS1, PWFS2, OIWFS) and SCS.

[4] and [6] gives a description of the pages dedicated to transfer data between AO RTC and BTO.

[7] gives a description of the pages dedicated to transfer data between GSAOI and MCAO RTC.

[8] describes the pages used by transfer data between instruments (like GPI) and SCS.

The following table summarizes the memory allocation:

| Page | Direction | Description |
| --- | --- | --- |
| 0 | To M2 | Data from SCS to M2 |
| 1 | To SCS | Data from M2 to SCS |
| 2 | To SCS | Data from M2 to SCS |
| 3 | To SCS | Data from M2 to SCS |
| 4 | unused |  |
| 5 | unused |  |
| 6 | unused |  |
| 7 | To Instruments | Data from SCS (event data) |
| 8 | To SCS | Data from PWFS1 |
| 9 | To SCS | Data from PWFS2 |
| 10 | To SCS | Data from OIWFS |
| 11 | To SCS | Data from Altair/MCAO RTC |
| 12 | unused |  |
| 13 | To BTO/LLT CC | Data from Altair/MCAO RTC |
| 14 | To OIWFS | Data from Altair (not used) |
| 15 | To MCAO RTC | Data from GSAOI |
| 16 | To SCS | Data from GPI |

Table 2: Synchor bus page allocation

This page list is extendable up to 256 pages.

# Safety

There are no known safety issues with this interface